{"text_format":"1","workbook":"xlsx","n_sheets":5,"sheets":["Instructions","Calculations","Checked Cases A","Checked Ccyl","Checked Cases B C D"],"not_rendered":{"charts":0,"images":4,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Instructions","index":0,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Calculations","index":1,"n_rows":57,"n_cols":8,"rows_kept":57,"cut":false,"hidden":false,"merged":[[9,0,9,1],[9,2,9,3],[9,4,9,7],[0,0,2,0],[0,4,0,5],[2,4,5,5],[5,6,5,7],[6,0,6,1],[7,0,8,0]]}
["Read the instructions first",null,"1. Enter: "]
[null,"d1",6,"mm","d2/d1 =",{"$f":"C3/C2","v":6.666666666666667},"Conditions for calculation:"]
[null,"d2",40,"mm","In case of incorrect settings either \"Out of Range\" or Setting incorrect\" appears in red in the cells 1/E-F",null,"1) 1.4 ˂ d2/d1 ˂ 7  "]
[null,"dm (optional)",40,"mm",null,null,"2) d2 ≤ 40 mm"]
[null,"Cm",50,"mm",null,null,"3) Cm ≤ 70 mm"]
[null,"a2",100,"mm",null,null,"4) d2/d1 ≤ 2.4, d2 ≤ 32"]
["To calculate Cr and Cri  ",null,"2. Press: \"Ctrl m\"",null,"1. ff   NRC","Cylinder","Cart","Dcyl"]
["Real Covers","Cr",44.462500000000006,"mm","cm",null,null,"mm"]
[null,"Cri",1.7504921259842523,"inch",0,"No","No"]
["By pressing the V-button the values are stored below.",null,"3. Press:"]
[" ","d1","d2","dm","cm","a2","Cr","Cri"]
["Cases","mm","mm","mm","mm","mm","mm","inch"]
[1]
[{"$f":"A13+1","v":2}]
[{"$f":"A14+1","v":3}]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]
[14]
[15]
[16]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
[29]
[30]
[31]
[32]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]

{"sheet":"Checked Cases A","index":2,"n_rows":275,"n_cols":11,"rows_kept":275,"cut":false,"hidden":false,"merged":[[4,0,4,10],[94,0,94,10],[185,0,185,10]]}
[null,null,"Accuracy: ",null,null,"Total with ±0 mm",null,null,"Total with ±1 mm"]
[null,null,null,null,{"$f":"H3-H2","v":198},{"$f":"E2/E3","v":0.7857142857142857},null,{"$f":"SUM(K94,K184,K275)","v":54},{"$f":"H2/H3","v":0.21428571428571427}]
[null,"Cases A",null,"of",252,"cases","of",252,"cases"]
[]
["Case A1      5.5 ˂ d2/d1 ≤ 7    "]
[null,null,null,null,"for NRC  0, 9 to 13, 5 to 8"]
[null,"d1","d2","dm","cm","a2","Cr","Cri",null,"Cr meas.","Cr Diff."]
["Cases","mm","mm","mm","mm","mm","mm","inch","Cases"]
[1,6,40,40,23,40,20.386395919999998,0.80261401259842513,1,20,{"$f":"G9-J9","v":0.38639591999999823}]
[{"$f":"A9+1","v":2},6,40,40,34,40,32.216534677600002,1.2683675069921261,{"$f":"I9+1","v":2},32,{"$f":"G10-J10","v":0.21653467760000211}]
[{"$f":"A10+1","v":3},6,40,40,45,40,44.288836328000002,1.7436549735433073,{"$f":"I10+1","v":3},44,0.28883632800000214]
[4,6,40,40,56,40,57.1107335568,2.2484540770393702,4,57,0.11073355679999963]
[5,6,40,40,23,50,19.463450000000002,0.76627755905511818,5,20,-0.53654999999999831]
[6,6,40,40,35,50,31.784337499999999,1.2513518700787403,6,32,-0.21566250000000053]
[7,6,40,40,46,50,43.540025,1.7141742125984254,7,44,-0.45997500000000002]
[8,6,40,40,58,50,56.933425,2.2414734251968507,8,57,-6.6575000000000273E-2]
[9,6,40,40,24,70,19.608077999999999,0.7719715748031496,9,20,-0.39192200000000099]
[10,6,40,40,36,70,31.592477699999996,1.2437983346456691,10,32,-0.40752230000000367]
[11,6,40,40,48,70,43.919266999999998,1.7291050000000001,11,44,-8.0733000000002164E-2]
[12,6,40,40,60,70,56.840224599999999,2.2378041181102364,12,57,-0.1597754000000009]
[13,6,40,34,26,100,20.9465,0.82466535433070876,13,20,0.94650000000000034]
[14,6,40,40,38,100,32.775800000000004,1.2903858267716537,14,32,0.77580000000000382]
[15,6,40,40,50,100,44.462500000000006,1.7504921259842523,15,44,0.46250000000000568]
[16,6,40,40,62,100,56.790300000000002,2.2358385826771654,16,57,-0.209699999999998]
[17,6,40,23,25,125,19.964874999999999,0.78601870078740155,17,20,-3.5125000000000739E-2]
[18,6,40,28,37,125,31.698414062499999,1.2479690575787401,18,32,-0.30158593750000051]
[19,6,40,32,50,125,43.929984375000004,1.7295269438976379,19,44,-7.0015624999996362E-2]
[20,6,40,38,64,125,57.852578125000001,2.2776605561023624,20,57,0.85257812500000085]
[21,6,40,17,24,150,19.501149999999999,0.76776181102362206,21,20,-0.4988500000000009]
[22,6,40,20,37,150,31.891062499999997,1.2555536417322835,22,32,-0.10893750000000324]
[23,6,40,25,50,150,43.811675000000001,1.724869094488189,23,44,-0.18832499999999897]
[24,6,40,29,63,150,56.393774999999998,2.2202273622047244,24,57,-0.60622500000000201]
[25,6,40,10,22,200,20.127399999999998,0.79241732283464561,25,20,0.12739999999999796]
[26,6,40,13,37,200,32.0428,1.2615275590551183,26,32,4.2799999999999727E-2]
[27,6,40,17,50,200,44.047800000000009,1.7341653543307092,27,44,4.7800000000009391E-2]
[28,6,40,19,62,200,55.082000000000001,2.1685826771653547,28,55,8.2000000000000739E-2]
[29,6,40,40,23,40,20.386395919999998,0.80261401259842513,29,20,0.38639591999999823]
[30,6,40,40,34,40,32.216534677600002,1.2683675069921261,30,32,0.21653467760000211]
[31,6,40,40,45,40,44.166988159200002,1.7388578015433074,31,44,0.16698815920000243]
[32,6,40,40,57,40,57.340852273599999,2.2575138690393701,32,57,0.34085227359999948]
[33,6,40,40,23,50,19.463450000000002,0.76627755905511818,33,20,-0.53654999999999831]
[34,6,40,40,35,50,31.784337499999999,1.2513518700787403,34,32,-0.21566250000000053]
[35,6,40,40,46,50,43.614707500000002,1.7171144685039372,35,44,-0.38529249999999848]
[36,6,40,40,58,50,56.412174999999998,2.2209517716535432,36,57,-0.58782500000000226]
[37,6,40,40,24,70,19.608077999999999,0.7719715748031496,37,20,-0.39192200000000099]
[38,6,40,40,36,70,31.592477699999996,1.2437983346456691,38,32,-0.40752230000000367]
[39,6,40,40,48,70,44.225274900000002,1.7411525551181104,39,44,0.22527490000000228]
[40,6,40,40,60,70,56.950687000000002,2.2421530314960632,40,57,-4.9312999999997942E-2]
[41,6,40,35,26,100,20.9465,0.82466535433070876,41,20,0.94650000000000034]
[42,6,40,37,38,100,32.775800000000004,1.2903858267716537,42,32,0.77580000000000382]
[43,6,40,35,49,100,44.101990000000001,1.7362988188976378,43,44,0.10199000000000069]
[44,6,40,37,61.5,100,57.742809999999999,2.273338976377953,44,57,0.74280999999999864]
[45,6,40,22,25,125,19.964874999999999,0.78601870078740155,45,20,-3.5125000000000739E-2]
[46,6,40,26,37,125,31.698414062499999,1.2479690575787401,46,32,-0.30158593750000051]
[47,6,40,27,49,125,43.852042187499997,1.7264583538385827,47,44,-0.14795781250000317]
[48,6,40,28,60,125,56.499534375000003,2.2243911171259847,48,57,-0.50046562499999681]
[49,6,40,17,24,150,19.501149999999999,0.76776181102362206,49,20,-0.4988500000000009]
[50,6,40,20,37,150,31.891062499999997,1.2555536417322835,50,32,-0.10893750000000324]
[51,6,40,22,49,150,44.037072500000001,1.7337430118110237,51,44,3.707250000000073E-2]
[52,6,40,23,60,150,57.027454999999996,2.2451753937007872,52,57,2.7454999999996232E-2]
[53,6,40,10,22,200,20.127399999999998,0.79241732283464561,53,20,0.12739999999999796]
[54,6,40,12,37,200,32.0428,1.2615275590551183,54,32,4.2799999999999727E-2]
[55,6,40,14,48,200,44.004179999999998,1.7324480314960631,55,44,4.1799999999980741E-3]
[56,6,40,16,60,200,57.027659999999997,2.2451834645669293,56,57,2.7659999999997353E-2]
[57,6,40,40,24,40,20.119571480000001,0.7921091133858269,57,20,0.11957148000000117]
[58,6,40,40,36,40,31.802992654400001,1.2520863249763781,58,32,-0.19700734559999944]
[59,6,40,40,48,40,43.859966657599998,1.7267703408503936,59,44,-0.14003334240000243]
[60,6,40,40,61.5,40,56.7524373408,2.2343479268031499,60,57,-0.24756265919999976]
[61,6,40,40,25,50,21.182175000000001,0.83394389763779531,61,21,0.18217500000000086]
[62,6,40,40,37,50,32.299225,1.271623031496063,62,32,0.29922499999999985]
[63,6,40,40,49,50,44.237344999999998,1.7416277559055118,63,44,0.2373449999999977]
[64,6,40,40,62,50,57.212049999999998,2.2524429133858268,64,57,0.21204999999999785]
[65,6,40,35,24,70,20.294506999999999,0.79899633858267716,65,21,-0.70549300000000059]
[66,6,40,34,37,70,32.116177799999996,1.2644164488188976,66,32,{"$f":"G74-J74","v":0.11617779999999556}]
[{"$f":"A74+1","v":67},6,40,34,49,70,44.054369399999999,1.7344239921259843,{"$f":"I74+1","v":67},44,5.4369399999998791E-2]
[68,6,40,35,62,70,57.495473599999997,2.2636013228346457,68,57,0.49547359999999685]
[69,6,40,25,25,100,21.533999999999999,0.84779527559055123,69,21,0.53399999999999892]
[70,6,40,24,36,100,31.525999999999996,1.2411811023622046,70,32,-0.47400000000000375]
[71,6,40,25,48,100,43.592179999999999,1.7162275590551181,71,44,-0.40782000000000096]
[72,6,40,26,60,100,56.296500000000002,2.2163976377952759,72,57,-0.70349999999999824]
[73,6,40,17,23,125,19.798656250000001,0.77947465551181105,73,20,-0.20134374999999949]
[74,6,40,18,36,125,32.238468749999996,1.2692310531496063,74,32,0.23846874999999557]
[75,6,40,19,48,125,44.339171874999998,1.7456366879921259,75,44,0.33917187499999812]
[76,6,40,20,60,125,56.975515625,2.2431305364173229,76,57,-2.4484375000000114E-2]
[77,6,40,14,23,150,20.122475000000001,0.79222342519685052,77,20,0.12247500000000144]
[78,6,40,15,35,150,32.039524999999998,1.2613986220472442,78,32,3.952499999999759E-2]
[79,6,40,16,47,150,43.925554999999996,1.729352559055118,79,44,-7.4445000000004313E-2]
[80,6,40,18,60,150,57.341999999999999,2.2575590551181102,80,57,0.34199999999999875]
[81,6,40,8,22,200,19.947600000000001,0.7853385826771655,81,20,-5.239999999999867E-2]
[82,6,40,9,34,200,31.974999999999991,1.2588582677165352,82,32,-2.5000000000009237E-2]
[83,6,40,11,48,200,43.995519999999999,1.7321070866141732,83,44,-4.4800000000009277E-3]
[84,6,40,12,61,200,56.926199999999994,2.2411889763779524,84,57,-7.3800000000005639E-2]
[]
[null,null,null,null,null,null,null,null,null,"± 1 mm",14]
["Case A2    3.5 ˂ d2/d1 ≤ 5.5"]
[null,null,null,null,"for NRC  0, 9 to 13, 5 to 8"]
["Column1","d1","d2","dm","cm","a2","Cr","Cri","Column2","Cr meas.","Cr Diff."]
["Cases","mm","mm","mm","mm","mm","mm","inch","Cases"]
[1,8,34,40,24,34,20.218151542400001,0.79599021820472449,1,20,{"$f":"G99-J99","v":0.21815154240000112}]
[{"$f":"A99+1","v":2},8,34,40,35,34,32.208868676800002,1.268065695937008,{"$f":"I99+1","v":2},32,{"$f":"G100-J100","v":0.20886867680000165}]
[{"$f":"A100+1","v":3},8,34,40,46,34,43.890129092800002,1.7279578382992127,{"$f":"I100+1","v":3},44,-0.1098709071999977]
[4,8,34,40,58,34,57.251671040000005,2.254002796850394,4,57,0.25167104000000506]
[5,8,34,40,24,50,19.552329999999998,0.7697767716535433,5,20,-0.44767000000000223]
[6,8,34,40,36,50,31.491154999999999,1.239809251968504,6,32,-0.50884500000000088]
[7,8,34,40,48,50,44.203634999999998,1.7403005905511812,7,44,0.20363499999999846]
[8,8,34,40,60,50,56.696399999999997,2.2321417322834645,8,57,-0.30360000000000298]
[9,8,34,40,25,70,20.2720716,0.79811305511811026,9,20,0.2720716000000003]
[10,8,34,40,38,70,32.452594599999998,1.2776612047244094,10,32,0.45259459999999763]
[11,8,34,40,49,70,43.884538599999999,1.7277377401574803,11,44,-0.11546140000000094]
[12,8,34,40,62,70,56.690339999999999,2.2319031496062993,12,57,-0.30966000000000093]
[13,8,34,28,24,100,19.715869999999999,0.77621535433070865,13,20,-0.2841300000000011]
[14,8,34,32,37,100,31.57161,1.2429767716535434,14,32,-0.42839000000000027]
[15,8,34,37,50,100,44.221820000000001,1.7410165354330711,15,44,0.22182000000000102]
[16,8,34,40,64,100,57.6128,2.2682204724409449,16,57,0.61280000000000001]
[17,8,34,20,24,125,20.580109374999999,0.81024052657480317,17,20,0.58010937499999926]
[18,8,34,25,37,125,32.548856250000007,1.2814510334645672,18,32,0.54885625000000715]
[19,8,34,28,49,125,43.534290625000004,1.7139484498031499,19,44,-0.46570937499999587]
[20,8,34,32,63,125,56.919281249999997,2.2409165846456691,20,57,-8.0718750000002615E-2]
[21,8,34,16,22,150,19.605069999999998,0.77185314960629914,21,20,-0.39493000000000222]
[22,8,34,18,35,150,31.685265000000001,1.2474513779527561,22,32,-0.31473499999999888]
[23,8,34,23,49,150,44.301704999999998,1.7441616141732283,23,44,0.30170499999999834]
[24,8,34,26,62,150,56.771700000000003,2.2351062992125987,24,57,-0.22829999999999728]
[25,8,34,11,21,200,20.054379999999998,0.7895425196850393,25,20,5.4379999999998319E-2]
[26,8,34,13,35,200,32.039020000000008,1.2613787401574807,26,32,3.9020000000007826E-2]
[27,8,34,16,47,200,43.959440000000008,1.7306866141732287,27,44,-4.0559999999992158E-2]
[28,8,34,18,61,200,57.055599999999998,2.2462834645669294,28,57,5.5599999999998317E-2]
[29,8,34,40,24,34,19.962804112000001,0.78593716976377959,29,20,-3.71958879999994E-2]
[30,8,34,40,35,34,32.014648223999998,1.2604192214173229,30,32,1.4648223999998322E-2]
[31,8,34,40,47,34,44.256071656000003,1.7423650258267718,31,44,0.25607165600000314]
[32,8,34,40,58,34,57.116739124799999,2.2486905167244093,32,57,0.11673912479999871]
[33,8,34,40,25,50,20.156330000000001,0.79355629921259851,33,20,0.15633000000000052]
[34,8,34,40,36,50,31.624099999999999,1.2450433070866143,34,32,-0.37590000000000146]
[35,8,34,40,47,50,43.298105,1.7046498031496065,35,44,-0.70189500000000038]
[36,8,34,40,59,50,56.583224999999999,2.2276860236220473,36,57,-0.41677500000000123]
[37,8,34,40,25,70,19.77101,0.77838622047244099,37,20,-0.22898999999999958]
[38,8,34,40,38,70,32.872764000000004,1.2942033070866144,38,32,0.87276400000000365]
[39,8,34,40,49,70,44.673915000000001,1.7588155511811026,39,44,0.67391500000000093]
[40,8,34,40,61,70,57.5725926,2.2666375039370079,40,57,0.57259260000000012]
[41,8,34,28,25,100,20.150210000000001,0.79331535433070877,41,20,0.15021000000000129]
[42,8,34,31,36,100,31.197400000000002,1.2282440944881892,42,32,-0.8025999999999982]
[43,8,34,31,48,100,43.652659999999997,1.7186086614173228,43,44,-0.34734000000000265]
[44,8,34,32,60,100,56.4998,2.2244015748031498,44,57,-0.50019999999999953]
[45,8,34,20,24,125,19.989184375000001,0.7869757627952757,45,20,-1.0815624999999329E-2]
[46,8,34,23,36,125,32.169124999999994,1.2665009842519683,46,32,0.16912499999999397]
[47,8,34,25,48,125,44.182809374999998,1.739480684055118,47,44,0.18280937499999794]
[48,8,34,25,60,125,57.298609374999998,2.2558507627952755,48,57,0.29860937499999807]
[49,8,34,16,23,150,19.959890000000001,0.78582244094488196,49,20,-4.0109999999998536E-2]
[50,8,34,18,35,150,32.167900000000003,1.2664527559055121,50,32,0.16790000000000305]
[51,8,34,20,47,150,43.928915000000003,1.7294848425196854,51,44,-7.1084999999996512E-2]
[52,8,34,20,58.5,150,56.929374999999993,2.2413139763779526,52,57,-7.0625000000006821E-2]
[53,8,34,11,22,200,20.007620000000006,0.78770157480314995,53,20,7.6200000000063994E-3]
[54,8,34,13,35,200,31.957600000000003,1.2581732283464568,54,32,-4.2399999999997107E-2]
[55,8,34,14,46,200,44.011119999999998,1.7327212598425197,55,44,1.1119999999998242E-2]
[56,8,34,14,57,200,57.001600000000003,2.2441574803149611,56,57,1.6000000000033765E-3]
[57,8,34,40,24,34,19.79013862,0.77913931574803152,57,20,-0.20986137999999954]
[58,8,34,40,37,34,31.26379,1.2308578740157481,58,32,-0.73620999999999981]
[59,8,34,40,50,34,44.029099243200001,1.7334291040629923,59,44,2.9099243200001013E-2]
[60,8,34,40,63,34,55.97264784,2.2036475527559056,60,57,-1.0273521599999995]
[61,8,34,40,25,50,20.490337499999999,0.80670620078740163,61,20,0.49033749999999898]
[62,8,34,40,38,50,32.822749999999999,1.2922342519685039,62,32,0.8227499999999992]
[63,8,34,40,50,50,44.067675000000001,1.7349478346456695,63,44,6.7675000000001262E-2]
[64,8,34,40,64,50,58.115299999999998,2.2880039370078742,64,57,1.1152999999999977]
[65,8,34,30,24,70,19.589774500000001,0.77125096456692921,65,20,-0.41022549999999924]
[66,8,34,29,37,70,32.521450000000002,1.2803720472440947,66,32,{"$f":"G164-J164","v":0.52145000000000152}]
[{"$f":"A164+1","v":67},8,34,30,49,70,43.701091400000003,1.7205154094488191,{"$f":"I164+1","v":67},44,-0.29890859999999719]
[68,8,34,31,62,70,57.408715999999998,2.2601856692913387,68,57,0.4087159999999983]
[69,8,34,21,24,100,20.417200000000001,0.80382677165354344,69,20,0.41720000000000113]
[70,8,34,21,35,100,31.569499999999998,1.2428937007874015,70,32,-0.4305000000000021]
[71,8,34,23,48,100,44.3611,1.7465000000000002,71,44,0.36110000000000042]
[72,8,34,23,60,100,57.067799999999998,2.246763779527559,72,57,6.7799999999998306E-2]
[73,8,34,16,22,125,19.405945312499998,0.76401359498031496,73,20,-0.59405468750000168]
[74,8,34,17,34,125,31.442875000000001,1.2379084645669292,74,32,-0.5571249999999992]
[75,8,34,18,46,125,43.864671874999999,1.7269555856299212,75,44,-0.13532812500000091]
[76,8,34,18,58,125,56.192750000000004,2.2123129921259843,76,57,-0.80724999999999625]
[77,8,34,12,22,150,20.353962500000002,0.80133710629921273,77,20,0.35396250000000151]
[78,8,34,15,34,150,32.316249999999997,1.272293307086614,78,32,0.31624999999999659]
[79,8,34,15,45,150,43.963124999999998,1.7308316929133858,79,44,-3.687500000000199E-2]
[80,8,34,17,58,150,57.083500000000001,2.2473818897637798,80,57,8.3500000000000796E-2]
[81,8,34,9,21,200,19.955000000000002,0.78562992125984266,81,20,-4.4999999999998153E-2]
[82,8,34,10,32,200,32.063000000000002,1.2623228346456694,82,32,6.3000000000002387E-2]
[83,8,34,11,46,200,44.015600000000006,1.7328976377952758,83,44,1.5600000000006276E-2]
[84,8,34,11,57,200,57.162399999999998,2.2504881889763779,84,57,0.1623999999999981]
[]
[null,null,null,null,null,null,null,null,null,"± 1 mm",18]
[]
["Case A3      2.4 ˂ d2/d1 ≤ 3.5"]
[null,null,null,null,"for NRC  0, 9 to 13, 5 to 8"]
["Column1","d1","d2","dm","cm","a2","Cr","Cri","Column2","Cr meas.","Cr Diff."]
["Cases","mm","mm","mm","mm","mm","mm","inch","Cases"]
[1,12,34,40,24,34,20.1039210048,0.79149295294488198,1,20,{"$f":"G190-J190","v":0.10392100480000011}]
[{"$f":"A190+1","v":2},12,34,40,36,34,31.7850043768,1.2513781250708662,{"$f":"I190+1","v":2},32,{"$f":"G191-J191","v":-0.2149956232000001}]
[{"$f":"A191+1","v":3},12,34,40,47,34,43.845797239999996,1.7262124897637794,{"$f":"I191+1","v":3},44,-0.15420276000000399]
[4,12,34,40,58,34,55.288947413599999,2.1767302131338582,4,55,0.28894741359999898]
[5,12,34,40,24,50,19.832099999999997,0.78079133858267713,5,20,-0.16790000000000305]
[6,12,34,40,37,50,32.019987499999999,1.2606294291338582,6,32,1.9987499999999159E-2]
[7,12,34,40,49,50,44.416474999999998,1.7486801181102363,7,44,0.41647499999999837]
[8,12,34,40,60,50,55.638137499999999,2.1904778543307089,8,56,-0.36186250000000086]
[9,12,34,40,24,70,19.8901416,0.78307644094488194,9,20,-0.10985840000000024]
[10,12,34,40,38,70,32.753348099999997,1.2895018937007874,10,32,0.75334809999999663]
[11,12,34,40,49,70,43.526286999999996,1.7136333464566929,11,44,-0.4737130000000036]
[12,12,34,40,63,70,57.6507577,2.2697148700787402,12,58,-0.34924230000000023]
[13,12,34,29,24,100,20.5596,0.8094330708661418,13,20,0.55959999999999965]
[14,12,34,32,36,100,31.398250000000001,1.2361515748031497,14,32,-0.60174999999999912]
[15,12,34,39,50,100,44.567599999999999,1.7546299212598426,15,44,0.56759999999999877]
[16,12,34,40,63,100,57.79,2.275196850393701,16,57,0.78999999999999915]
[17,12,34,20,22,125,19.394687499999996,0.7635703740157479,17,20,-0.60531250000000369]
[18,12,34,24,35,125,31.485257812500002,1.2395770792322836,18,32,-0.51474218749999778]
[19,12,34,28,48,125,43.352406250000001,1.7067876476377954,19,44,-0.64759374999999864]
[20,12,34,31,61,125,56.743789062500007,2.2340074434055124,20,57,-0.25621093749999346]
[21,12,34,18,22,150,20.232899999999997,0.79657086614173223,21,20,0.23289999999999722]
[22,12,34,21,35,150,32.6760625,1.2864591535433072,22,32,0.67606250000000045]
[23,12,34,24,48,150,44.323374999999999,1.7450147637795277,23,44,0.32337499999999864]
[24,12,34,24,60,150,56.831262499999994,2.237451279527559,24,57,-0.16873750000000598]
[25,12,34,14,21,200,19.985399999999998,0.78682677165354331,{"$f":"I213+1","v":25},20,-1.4600000000001501E-2]
[26,12,34,15,33,200,31.884700000000006,1.2553031496062994,26,32,-0.11529999999999418]
[27,12,34,18,47,200,43.963799999999992,1.7308582677165352,{"$f":"I215+1","v":27},44,-3.6200000000008004E-2]
[28,12,34,20,60,200,57.052599999999998,2.2461653543307087,28,57,5.2599999999998204E-2]
[29,12,34,40,24,34,20.327194895200002,0.80028326359055124,29,20,0.32719489520000167]
[30,12,34,40,36,34,32.059621,1.2621898031496064,30,32,5.9620999999999924E-2]
[31,12,34,40,48,34,44.2281375504,1.7412652578897638,31,44,0.22813755039999961]
[32,12,34,40,58,34,55.405956205599999,2.1813368584881889,32,55,0.40595620559999901]
[33,12,34,40,24,50,19.668837500000002,0.77436368110236231,33,20,-0.33116249999999781]
[34,12,34,40,36,50,31.863524999999999,1.2544694881889764,34,32,-0.13647500000000079]
[35,12,34,40,48,50,43.241624999999999,1.7024261811023622,35,44,-0.75837500000000091]
[36,12,34,40,60,50,56.057312500000002,2.2069808070866141,36,57,-0.94268749999999812]
[37,12,34,40,24,70,19.439782899999997,0.76534578346456683,37,20,-0.56021710000000269]
[38,12,34,40,36,70,31.764385000000001,1.2505663385826773,38,32,-0.23561499999999924]
[39,12,34,40,50,70,44.877783799999996,1.7668418818897638,39,44,0.87778379999999601]
[40,12,34,40,63,70,58.491230700000003,2.3028043582677169,40,58,0.49123070000000268]
[41,12,34,29,25,100,20.9678,0.82550393700787406,41,20,0.96780000000000044]
[42,12,34,31,37,100,32.919800000000002,1.2960551181102364,42,32,0.91980000000000217]
[43,12,34,31,48,100,43.620600000000003,1.7173464566929135,43,44,-0.37939999999999685]
[44,12,34,32,61,100,57.267400000000002,2.2546220472440948,44,57,0.26740000000000208]
[45,12,34,21,23,125,19.825867187500002,0.78054595226377965,45,20,-0.17413281249999812]
[46,12,34,24,35,125,31.328093750000001,1.2333895177165355,46,32,-0.67190624999999926]
[47,12,34,25,47,125,43.876578125000002,1.7274243356299215,47,44,-0.12342187499999824]
[48,12,34,26,59,125,56.667117187500004,2.2309888656496066,48,57,-0.33288281249999585]
[49,12,34,18,22,150,19.694612500000002,0.77537844488188989,49,20,-0.30538749999999837]
[50,12,34,21,35,150,31.989825,1.2594419291338583,50,32,-1.0175000000000267E-2]
[51,12,34,21,46,150,44.183875,1.7395226377952757,51,44,0.18387500000000045]
[52,12,34,21,58,150,57.036687499999999,2.2455388779527561,52,57,3.6687499999999318E-2]
[53,12,34,15,22,200,20.079000000000004,0.79051181102362222,53,20,7.9000000000004178E-2]
[54,12,34,15,33,200,32.073599999999999,1.262740157480315,54,32,7.3599999999999E-2]
[55,12,34,16,45,200,43.973400000000005,1.7312362204724412,55,44,-2.659999999999485E-2]
[56,12,34,17,58,200,57.005600000000015,2.244314960629922,56,57,5.6000000000153705E-3]
[57,12,34,40,25,34,20.342870747999999,0.8009004231496063,57,20,0.34287074799999928]
[58,12,34,40,38,34,32.095515970944,1.2636029909820472,58,32,9.5515970943999662E-2]
[59,12,34,40,51,34,43.792948639999999,1.7241318362204725,59,44,-0.20705136000000124]
[60,12,34,40,62,34,54.364083800000003,2.1403182598425201,60,55,-0.63591619999999693]
[61,12,34,37,24,50,19.409437499999999,0.76415108267716536,61,20,-0.59056250000000077]
[62,12,34,38,38,50,31.80301,1.2520870078740158,62,32,-0.19698999999999955]
[63,12,34,38,50,50,44.015700000000002,1.7329015748031498,63,44,1.570000000000249E-2]
[64,12,34,39,64,50,57.714775000000003,2.2722352362204727,64,57,0.71477500000000305]
[65,12,34,30,24,70,20.001486499999999,0.78746009842519682,65,20,1.4864999999986139E-3]
[66,12,34,29,37,70,32.000299640000001,1.2598543165354332,66,32,{"$f":"G255-J255","v":2.9964000000148872E-4}]
[{"$f":"A255+1","v":67},12,34,30,49,70,44.360495999999998,1.7464762204724409,{"$f":"I255+1","v":67},44,0.36049599999999771]
[68,12,34,30,63,70,58.220655000000001,2.2921517716535433,68,58,0.22065500000000071]
[69,12,34,22,23,100,20.503599999999999,0.80722834645669295,69,20,0.50359999999999872]
[70,12,34,22,35,100,32.428170000000009,1.2766996062992131,70,32,0.4281700000000086]
[71,12,34,24,47,100,43.995100000000001,1.7320905511811024,71,44,-4.8999999999992383E-3]
[72,12,34,24,60,100,57.099299999999999,2.2480039370078742,72,57,9.92999999999995E-2]
[73,12,34,18,21,125,19.853601562500003,0.78163785679133879,73,20,-0.1463984374999967]
[74,12,34,18,33,125,31.44727109375,1.2380815391240159,74,32,-0.5527289062499996]
[75,12,34,19,46,125,44.006562500000001,1.7325418307086615,75,44,6.5625000000011369E-3]
[76,12,34,19,58,125,56.316343750000001,2.2171788877952756,76,57,-0.68365624999999852]
[77,12,34,15,20,150,19.8423625,0.78119537401574812,77,20,-0.15763749999999987]
[78,12,34,16,34,150,32.243654999999997,1.2694352362204724,78,32,0.24365499999999685]
[79,12,34,17,45,150,43.699200000000005,1.72044094488189,79,44,-0.30079999999999529]
[80,12,34,18,58,150,57.216574999999999,2.2526210629921262,80,57,0.21657499999999885]
[81,12,34,12,21,200,20.046599999999998,0.78923622047244091,81,20,4.6599999999997976E-2]
[82,12,34,13,33,200,31.980740000000043,1.2590842519685057,82,32,-1.9259999999956534E-2]
[83,12,34,14,45,200,44.128,1.7373228346456695,83,44,0.12800000000000011]
[84,12,34,14,57,200,57.066600000000001,2.2467165354330709,84,57,6.6600000000001103E-2]
[]
[null,null,null,null,null,null,null,null,null,"± 1 mm",22]

{"sheet":"Checked Ccyl","index":3,"n_rows":124,"n_cols":12,"rows_kept":124,"cut":false,"hidden":false,"merged":[[112,1,113,1],[113,9,114,9],[114,1,123,1],[116,9,117,9],[119,9,120,9],[122,9,123,9],[100,1,101,1],[101,9,102,9],[102,1,111,1],[104,9,105,9],[107,9,108,9],[110,9,111,9],[84,1,84,11],[88,1,89,1],[89,9,90,9],[90,1,99,1],[92,9,93,9],[95,9,96,9],[98,9,99,9],[71,1,72,1],[72,9,73,9],[73,1,82,1],[75,9,76,9],[78,9,79,9],[81,9,82,9],[59,1,60,1],[60,9,61,9],[61,1,70,1],[63,9,64,9],[66,9,67,9],[69,9,70,9],[43,1,43,11],[47,1,48,1],[48,9,49,9],[49,1,58,1],[51,9,52,9],[54,9,55,9],[57,9,58,9],[30,1,31,1],[31,9,32,9],[32,1,41,1],[34,9,35,9],[37,9,38,9],[40,9,41,9],[18,1,19,1],[19,9,20,9],[20,1,29,1],[22,9,23,9],[25,9,26,9],[28,9,29,9],[2,1,2,11],[6,1,7,1],[7,9,8,9],[8,1,17,1],[10,9,11,9],[13,9,14,9],[16,9,17,9]]}
[null,null,"Cases A",null,"On Cylinders"]
[]
[null,"Case A1      5.5 ˂ d2/d1 ≤ 7    "]
[null,null,null,null,null,"for NRC Settings  0, 10 and 5"]
[null,null,"d1","d2","dm","cm","a2","Cr","Cri","Cases","Cr","Cri"]
["Cases","NCR","mm","mm","mm","mm","mm","mm","inch","Accur.","mm","inch"]
[1,0,6,40,40,23,40,20.015432000000001,0.78800913385826798,1,20.015432000000001,0.78800913385826798]
[null,null,"On Cylinder diameter 850 mm  / 6000 mm",null,null,null,null,27.060041419437741,1.0653559613951866,0,21.005240940766491,0.82697798979395643]
[null," a1           ˃        13",null,null,null,null,"Ccyl",{"$f":"H8-H7","v":7.0446094194377409},{"$f":"I8-I7","v":0.27734682753691864},null,{"$f":"K8-K7","v":0.98980894076649051},{"$f":"L8-L7","v":3.896885593568844E-2}]
[2,null,6,40,40,36,70,31.592477699999996,1.2437983346456691,2,31.592477699999996,1.2437983346456691]
[null,null,"On Cylinder diameter 850 mm  / 3000 mm",null,null,null,null,38.637087119437737,1.5211451621825882,0,33.573084581035822,1.3217749835053474]
[null,null,null,null,null,null,"Ccyl",{"$f":"H11-H10","v":7.0446094194377409},{"$f":"I11-I10","v":0.27734682753691908},null,{"$f":"K11-K10","v":1.9806068810358255},{"$f":"L11-L10","v":7.7976648859678255E-2}]
[3,null,6,40,32,50,125,43.929984375000004,1.7295269438976379,3,43.929984375000004,1.7295269438976379]
[null,null,"On Cylinder diameter 850 mm  / 2000 mm",null,null,null,null,50.974593794437737,2.0068737714345568,0,46.903373996048593,1.846589527403488]
[null,null,null,null,null,null,"Ccyl",{"$f":"H14-H13","v":7.0446094194377338},{"$f":"I14-I13","v":0.27734682753691886},null,{"$f":"K14-K13","v":2.9733896210485895},{"$f":"L14-L13","v":0.11706258350585008}]
[4,null,6,40,19,62,200,55.082000000000001,2.1685826771653547,4,55.082000000000001,2.1685826771653547]
[null,null,"On Cylinder diameter 850 mm  / 1500 mm",null,null,null,null,62.126609419437742,2.4459295047022733,0,59.051166685784835,2.3248490821175132]
[null,null,null,null,null,null,"Ccyl",{"$f":"H17-H16","v":7.0446094194377409},{"$f":"I17-I16","v":0.27734682753691864},null,{"$f":"K17-K16","v":3.9691666857848347},{"$f":"L17-L16","v":0.15626640495215849}]
[{"$f":"A16+1","v":5},10,6,40,40,23,40,20.015432000000001,0.78800913385826798,{"$f":"J16+1","v":5},20.015432000000001,0.78800913385826798]
[null,null,"On Cylinder diameter 850 mm  / 1200 mm",null,null,null,null,27.060041419437741,1.0653559613951866,0,24.984400499811461,0.98363781495320712]
[null," 9      ≤       a1       ≤       13",null,null,null,null,"Ccyl",{"$f":"H20-H19","v":7.0446094194377409},{"$f":"I20-I19","v":0.27734682753691864},null,{"$f":"K20-K19","v":4.96896849981146},{"$f":"L20-L19","v":0.19562868109493914}]
[6,null,6,40,40,36,70,31.592477699999996,1.2437983346456691,6,31.592477699999996,1.2437983346456691]
[null,null,"On Cylinder diameter 850 mm  / 1000 mm",null,null,null,null,38.637087119437737,1.5211451621825882,0,37.566331649429841,1.478989435016923]
[null,null,null,null,null,null,"Ccyl",{"$f":"H23-H22","v":7.0446094194377409},{"$f":"I23-I22","v":0.27734682753691908},null,{"$f":"K23-K22","v":5.973853949429845},{"$f":"L23-L22","v":0.2351911003712539}]
[7,null,6,40,27,49,125,43.852042187499997,1.7264583538385827,7,43.852042187499997,1.7264583538385827]
[null,null,"On Cylinder diameter 850 mm  / 920 mm",null,null,null,null,50.896651606937738,2.0038051813755016,0,50.352566114949639,1.9823844927145529]
[null,null,null,null,null,null,"Ccyl",{"$f":"H26-H25","v":7.0446094194377409},{"$f":"I26-I25","v":0.27734682753691886},null,{"$f":"K26-K25","v":6.5005239274496418},{"$f":"L26-L25","v":0.25592613887597015}]
[8,null,6,40,16,60,200,57.027659999999997,2.2451834645669293,8,57.027659999999997,2.2451834645669293]
[null,null,"On Cylinder diameter 850 mm  / 849 mm",null,null,null,null,64.072269419437731,2.5225302921038479,0,64.035370538630559,2.5210775802610459]
[null,null,null,null,null,null,"Ccyl",{"$f":"H29-H28","v":7.0446094194377338},{"$f":"I29-I28","v":0.27734682753691864},null,{"$f":"K29-K28","v":7.0077105386305618},{"$f":"L29-L28","v":0.27589411569411659}]
[{"$f":"A28+1","v":9},5,6,40,40,24,40,20.015432000000001,0.78800913385826798,{"$f":"J28+1","v":9},20.015432000000001,0.7921091133858269]
[null,null,"On Cylinder diameter 850 mm  / 800 mm",null,null,null,null,27.184817419437742,1.0702684023400686,0,26.926764160000001,1.0601088251968505]
[null,"1      ≤       a1       ≤       8",null,null,null,null,"Ccyl",{"$f":"H32-H31","v":7.1693854194377415},{"$f":"I32-I31","v":0.28225926848180061},null,{"$f":"K32-K31","v":6.9113321600000006},{"$f":"L32-L31","v":0.26799971181102356}]
[10,null,6,40,34,37,70,32.116177799999996,1.2644164488188976,10,32.116177799999996,1.2644164488188976]
[null,null,"On Cylinder diameter 850 mm  / 650 mm",null,null,null,null,39.160787219437736,1.5417632763558164,0,38.205258826249995,1.504144048277559]
[null,null,null,null,null,null,"Ccyl",{"$f":"H35-H34","v":7.0446094194377409},{"$f":"I35-I34","v":0.27734682753691886},null,{"$f":"K35-K34","v":6.0890810262499997},{"$f":"L35-L34","v":0.2397275994586614}]
[11,null,6,40,19,48,125,44.339171874999998,1.7456366879921259,11,44.339171874999998,1.7456366879921259]
[null,null,"On Cylinder diameter 850 mm  / 500 mm",null,null,null,null,51.383781294437739,2.0229835155290448,0,48.797413124999999,1.9211579970472441]
[null,null,null,null,null,null,"Ccyl",{"$f":"H38-H37","v":7.0446094194377409},{"$f":"I38-I37","v":0.27734682753691886},null,{"$f":"K38-K37","v":4.4582412500000004},{"$f":"L38-L37","v":0.1755213090551182}]
[12,null,6,40,12,61,200,56.926199999999994,2.2411889763779524,12,56.926199999999994,2.2411889763779524]
[null,null,"On Cylinder diameter 850 mm  / 400 mm",null,null,null,null,63.970809419437735,2.5185358039148715,0,59.204019519999996,2.3308669102362205]
[null,null,null,null,null,null,"Ccyl",{"$f":"H41-H40","v":7.0446094194377409},{"$f":"I41-I40","v":0.27734682753691908},null,{"$f":"K41-K40","v":2.2778195200000013},{"$f":"L41-L40","v":8.9677933858268055E-2}]
[]
[null,"Case A2    3.5 ˂ d2/d1 ≤ 5.5 on Cylinders"]
[null,null,null,null,null,"for NRC Settings  0, 10 and 5"]
[null,"Column1","d1","d2","dm","cm","a2","Cr","Cri","Cases","Cr2","Cri2"]
["Cases","NCR","mm","mm","mm","mm","mm","mm","inch","Accur.","mm","inch"]
[1,0,8,34,40,24,34,20.218151542400001,0.79599021820472449,1,20.218151542400001,0.79599021820472449]
[null,null,"On Cylinder diameter 850 mm  / 6000 mm",null,null,null,null,27.262760961837742,1.0733370457416433,0,21.207960483166488,0.83495907414041293]
[null," a1           ˃        13",null,null,null,null,"Ccyl",{"$f":"H49-H48","v":7.0446094194377409},{"$f":"I49-I48","v":0.27734682753691886},null,{"$f":"K49-K48","v":0.98980894076648696},{"$f":"L49-L48","v":3.896885593568844E-2}]
[2,null,8,34,40,38,70,32.452594599999998,1.2776612047244094,2,32.452594599999998,1.2776612047244094]
[null,null,"On Cylinder diameter 850 mm  / 3000 mm",null,null,null,null,39.497204019437739,1.5550080322613284,0,34.433201481035823,1.3556378535840876]
[null,null,null,null,null,null,"Ccyl",{"$f":"H52-H51","v":7.0446094194377409},{"$f":"I52-I51","v":0.27734682753691908},null,{"$f":"K52-K51","v":1.9806068810358255},{"$f":"L52-L51","v":7.7976648859678255E-2}]
[3,null,8,34,28,49,125,43.534290625000004,1.7139484498031499,3,43.534290625000004,1.7139484498031499]
[null,null,"On Cylinder diameter 850 mm  / 2000 mm",null,null,null,null,50.578900044437745,1.9912952773400687,0,46.507680246048601,1.8310110333090002]
[null,null,null,null,null,null,"Ccyl",{"$f":"H55-H54","v":7.0446094194377409},{"$f":"I55-I54","v":0.27734682753691886},null,{"$f":"K55-K54","v":2.9733896210485966},{"$f":"L55-L54","v":0.1170625835058503}]
[4,null,8,34,18,61,200,57.055599999999998,2.2462834645669294,4,57.055599999999998,2.2462834645669294]
[null,null,"On Cylinder diameter 850 mm  / 1500 mm",null,null,null,null,64.100209419437732,2.523630292103848,0,61.02476668578484,2.4025498695190883]
[null,null,null,null,null,null,"Ccyl",{"$f":"H58-H57","v":7.0446094194377338},{"$f":"I58-I57","v":0.27734682753691864},null,{"$f":"K58-K57","v":3.9691666857848418},{"$f":"L58-L57","v":0.15626640495215893}]
[{"$f":"A57+1","v":5},10,8,34,40,24,34,19.962804112000001,0.78593716976377959,5,19.962804112000001,0.78593716976377959]
[null,null,"On Cylinder diameter 850 mm  / 1200 mm",null,null,null,null,27.007413531437699,1.0632839973007,0,24.9317726118115,0.98156585085871895]
[null," 9      ≤       a1       ≤       13",null,null,null,null,"Ccyl",{"$f":"H61-H60","v":7.0446094194376983},{"$f":"I61-I60","v":0.27734682753692042},null,{"$f":"K61-K60","v":4.9689684998114991},{"$f":"L61-L60","v":0.19562868109493936}]
[6,null,8,34,40,38,70,32.872764000000004,1.2942033070866144,6,32.872764000000004,1.2942033070866144]
[null,null,"On Cylinder diameter 850 mm  / 1000 mm",null,null,null,null,39.917373419437702,1.5715501346235301,0,38.846617949429799,1.52939440745787]
[null,null,null,null,null,null,"Ccyl",{"$f":"H64-H63","v":7.0446094194376983},{"$f":"I64-I63","v":0.27734682753691575},null,{"$f":"K64-K63","v":5.9738539494297953},{"$f":"L64-L63","v":0.23519110037125568}]
[7,null,8,34,25,48,125,44.182809374999998,1.739480684055118,7,44.182809374999998,1.739480684055118]
[null,null,"On Cylinder diameter 850 mm  / 920 mm",null,null,null,null,51.227418794437739,2.0168275115920369,0,50.68333330244964,1.9954068229310884]
[null,null,null,null,null,null,"Ccyl",{"$f":"H67-H66","v":7.0446094194377409},{"$f":"I67-I66","v":0.27734682753691886},null,{"$f":"K67-K66","v":6.5005239274496418},{"$f":"L67-L66","v":0.25592613887597038}]
[8,null,8,34,14,57,200,57.001600000000003,2.2441574803149611,8,57.001600000000003,2.2441574803149611]
[null,null,"On Cylinder diameter 850 mm  / 849 mm",null,null,null,null,64.046209419437744,2.5215043078518797,0,64.009310538630572,2.5200515960090777]
[null,null,null,null,null,null,"Ccyl",{"$f":"H70-H69","v":7.0446094194377409},{"$f":"I70-I69","v":0.27734682753691864},null,{"$f":"K70-K69","v":7.0077105386305689},{"$f":"L70-L69","v":0.27589411569411659}]
[{"$f":"A69+1","v":9},5,8,34,40,24,34,19.79013862,0.77913931574803152,9,19.79013862,0.77913931574803152]
[null,null,"On Cylinder diameter 850 mm  / 800 mm",null,null,null,null,26.834748039437741,1.0564861432849506,0,26.57669478,1.0463265661417323]
[null,"1      ≤       a1       ≤       8",null,null,null,null,"Ccyl",{"$f":"H73-H72","v":7.0446094194377409},{"$f":"I73-I72","v":0.27734682753691908},null,{"$f":"K73-K72","v":6.7865561599999999},{"$f":"L73-L72","v":0.26718725039370073}]
[10,null,8,34,29,37,70,32.521450000000002,1.2803720472440947,10,32.521450000000002,1.2803720472440947]
[null,null,"On Cylinder diameter 850 mm  / 650 mm",null,null,null,null,39.566059419437742,1.5577188747810136,0,38.610531026249994,1.5200996467027557]
[null,null,null,null,null,null,"Ccyl",{"$f":"H76-H75","v":7.0446094194377409},{"$f":"I76-I75","v":0.27734682753691886},null,{"$f":"K76-K75","v":6.0890810262499926},{"$f":"L76-L75","v":0.23972759945866096}]
[11,null,8,34,18,46,125,43.864671874999999,1.7269555856299212,11,43.864671874999999,1.7269555856299212]
[null,null,"On Cylinder diameter 850 mm  / 500 mm",null,null,null,null,50.90928129443774,2.0043024131668403,0,48.322913125000007,1.9024768946850397]
[null,null,null,null,null,null,"Ccyl",{"$f":"H79-H78","v":7.0446094194377409},{"$f":"I79-I78","v":0.27734682753691908},null,{"$f":"K79-K78","v":4.4582412500000075},{"$f":"L79-L78","v":0.17552130905511842}]
[12,null,8,34,11,57,200,57.162399999999998,2.2504881889763779,12,57.162399999999998,2.2504881889763779]
[null,null,"On Cylinder diameter 850 mm  / 400 mm",null,null,null,null,64.207009419437739,2.527835016513297,0,59.440219519999999,2.340166122834646]
[null,null,null,null,null,null,"Ccyl",{"$f":"H82-H81","v":7.0446094194377409},{"$f":"I82-I81","v":0.27734682753691908},null,{"$f":"K82-K81","v":2.2778195200000013},{"$f":"L82-L81","v":8.9677933858268055E-2}]
[]
[null,"Case A3      2.4 ˂ d2/d1 ≤ 3.5 on Cylinders"]
[null,null,null,null,null,"for NRC Settings  0, 10 and 5"]
["Column1","Column1","d1","d2","dm","cm","a2","Cr","Cri","Cases","Cr2","Cri2"]
["Cases","NCR","mm","mm","mm","mm","mm","mm","inch","Accur.","mm","inch"]
[1,0,12,34,40,24,34,20.1039210048,0.79149295294488198,1,20.1039210048,0.79149295294488198]
[null,null,"On Cylinder diameter 850 mm  / 6000 mm",null,null,null,null,27.148530424237698,1.0688397804000001,0,21.093729945566501,0.83046180888057097]
[null," a1           ˃        13",null,null,null,null,"Ccyl",{"$f":"H90-H89","v":7.0446094194376983},{"$f":"I90-I89","v":0.27734682745511807},null,{"$f":"K90-K89","v":0.98980894076650117},{"$f":"L90-L89","v":3.8968855935688995E-2}]
[2,null,12,34,40,38,70,32.753348099999997,1.2895018937007874,2,32.753348099999997,1.2895018937007874]
[null,null,"On Cylinder diameter 850 mm  / 3000 mm",null,null,null,null,39.797957519437702,1.56684872123771,0,34.733954981035801,1.3674785425604701]
[null,null,null,null,null,null,"Ccyl",{"$f":"H93-H92","v":7.0446094194377054},{"$f":"I93-I92","v":0.27734682753692264},null,{"$f":"K93-K92","v":1.9806068810358042},{"$f":"L93-L92","v":7.7976648859682696E-2}]
[3,null,12,34,28,48,125,43.352406250000001,1.7067876476377954,3,43.352406250000001,1.7067876476377954]
[null,null,"On Cylinder diameter 850 mm  / 2000 mm",null,null,null,null,50.3970156694377,1.9841344751747141,0,46.325795871048591,1.8238502311436453]
[null,null,null,null,null,null,"Ccyl",{"$f":"H96-H95","v":7.0446094194376983},{"$f":"I96-I95","v":0.27734682753691864},null,{"$f":"K96-K95","v":2.9733896210485895},{"$f":"L96-L95","v":0.11706258350584986}]
[4,null,12,34,20,60,200,57.052599999999998,2.2461653543307087,4,57.052599999999998,2.2461653543307087]
[null,null,"On Cylinder diameter 850 mm  / 1500 mm",null,null,null,null,64.097209419437732,2.5235121818676274,0,61.02176668578484,2.4024317592828677]
[null,null,null,null,null,null,"Ccyl",{"$f":"H99-H98","v":7.0446094194377338},{"$f":"I99-I98","v":0.27734682753691864},null,{"$f":"K99-K98","v":3.9691666857848418},{"$f":"L99-L98","v":0.15626640495215893}]
[{"$f":"A98+1","v":5},10,12,34,40,24,34,20.327194895200002,0.80028326359055124,5,20.327194895200002,0.80028326359055124]
[null,null,"On Cylinder diameter 850 mm  / 1200 mm",null,null,null,null,27.371804314637743,1.0776300911274703,0,25.296163395011458,0.99591194468549049]
[null," 9      ≤       a1       ≤       13",null,null,null,null,"Ccyl",{"$f":"H102-H101","v":7.0446094194377409},{"$f":"I102-I101","v":0.27734682753691908},null,{"$f":"K102-K101","v":4.9689684998114565},{"$f":"L102-L101","v":0.19562868109493925}]
[6,null,12,34,40,36,70,31.764385000000001,1.2505663385826773,6,31.764385000000001,1.2505663385826773]
[null,null,"On Cylinder diameter 850 mm  / 1000 mm",null,null,null,null,38.808994419437738,1.5279131661195962,0,37.738238949429849,1.4857574389539312]
[null,null,null,null,null,null,"Ccyl",{"$f":"H105-H104","v":7.0446094194377373},{"$f":"I105-I104","v":0.27734682753691886},null,{"$f":"K105-K104","v":5.9738539494298486},{"$f":"L105-L104","v":0.2351911003712539}]
[7,null,12,34,25,47,125,43.876578125000002,1.7274243356299215,7,43.876578125000002,1.7274243356299215]
[null,null,"On Cylinder diameter 850 mm  / 920 mm",null,null,null,null,50.921187544437743,2.0047711631668403,0,50.377102052449644,1.9833504745058916]
[null,null,null,null,null,null,"Ccyl",{"$f":"H108-H107","v":7.0446094194377409},{"$f":"I108-I107","v":0.27734682753691886},null,{"$f":"K108-K107","v":6.5005239274496418},{"$f":"L108-L107","v":0.25592613887597015}]
[8,null,12,34,17,58,200,57.005600000000015,2.244314960629922,8,57.005600000000015,2.244314960629922]
[null,null,"On Cylinder diameter 850 mm  / 849 mm",null,null,null,null,64.050209419437763,2.5216617881668411,0,64.013310538630577,2.5202090763240386]
[null,null,null,null,null,null,"Ccyl",{"$f":"H111-H110","v":7.044609419437748},{"$f":"I111-I110","v":0.27734682753691908},null,{"$f":"K111-K110","v":7.0077105386305618},{"$f":"L111-L110","v":0.27589411569411659}]
[{"$f":"A110+1","v":9},5,12,34,40,25,34,20.342870747999999,0.8009004231496063,9,20.342870747999999,0.8009004231496063]
[null,null,"On Cylinder diameter 850 mm  / 800 mm",null,null,null,null,27.38748016743774,1.0782472506865253,0,27.129426907999999,1.0680876735433071]
[null,"1      ≤       a1       ≤       8",null,null,null,null,"Ccyl",{"$f":"H114-H113","v":7.0446094194377409},{"$f":"I114-I113","v":0.27734682753691897},null,{"$f":"K114-K113","v":6.7865561599999999},{"$f":"L114-L113","v":0.26718725039370084}]
[10,null,12,34,29,37,70,32.000299640000001,1.2598543165354332,10,32.000299640000001,1.2598543165354332]
[null,null,"On Cylinder diameter 850 mm  / 650 mm",null,null,null,null,39.044909059437742,1.5372011440723521,0,38.089380666249994,1.4995819159940944]
[null,null,null,null,null,null,"Ccyl",{"$f":"H117-H116","v":7.0446094194377409},{"$f":"I117-I116","v":0.27734682753691886},null,{"$f":"K117-K116","v":6.0890810262499926},{"$f":"L117-L116","v":0.23972759945866118}]
[11,null,12,34,19,46,125,44.006562500000001,1.7325418307086615,11,44.006562500000001,1.7325418307086615]
[null,null,"On Cylinder diameter 850 mm  / 500 mm",null,null,null,null,51.051171919437742,2.0098886582455804,0,48.464803750000002,1.9080631397637797]
[null,null,null,null,null,null,"Ccyl",{"$f":"H120-H119","v":7.0446094194377409},{"$f":"I120-I119","v":0.27734682753691886},null,{"$f":"K120-K119","v":4.4582412500000004},{"$f":"L120-L119","v":0.1755213090551182}]
[12,null,12,34,14,57,200,57.066600000000001,2.2467165354330709,12,57.066600000000001,2.2467165354330709]
[null,null,"On Cylinder diameter 850 mm  / 400 mm",null,null,null,null,64.111209419437742,2.52406336296999,0,59.344419520000002,2.336394469291339]
[null,null,null,null,null,null,"Ccyl",{"$f":"H123-H122","v":7.0446094194377409},{"$f":"I123-I122","v":0.27734682753691908},null,{"$f":"K123-K122","v":2.2778195200000013},{"$f":"L123-L122","v":8.9677933858268055E-2}]

{"sheet":"Checked Cases B C D","index":4,"n_rows":149,"n_cols":11,"rows_kept":149,"cut":false,"hidden":false,"merged":[[4,0,4,10],[54,0,54,10],[104,0,104,10]]}
[null,"Cases B, C and D"]
[null,null,"Accuracy: ",null,null,"Total with ±0 mm",null,null,"Total with ±1 mm"]
[null,null,null,null,{"$f":"H4-H3","v":104},{"$f":"E3/E4","v":0.8},null,{"$f":"SUM(K54,K104,K149)","v":26},{"$f":"H3/H4","v":0.2}]
[null,null,null,"of",130,"cases","of",130,"cases"]
["Case B     d2/d1 ˂ 2.1   and   d2 ˂ 20 mm"]
[null,"d1","d2","dm","cm","a2","Cr","Cri",null,"Cr meas.","Cr Diff."]
["Cases","mm","mm","mm","mm","mm","mm","inch","Cases"]
[1,8,16,40,19,16,14.108976,0.55547149606299218,1,14,{"$f":"G8-J8","v":0.10897600000000018}]
[{"$f":"A8+1","v":2},8,16,40,27,16,21.777695999999999,0.85738960629921257,{"$f":"I8+1","v":2},22,{"$f":"G9-J9","v":-0.22230400000000117}]
[{"$f":"A9+1","v":3},8,16,40,38,16,32.116948000000001,1.2644467716535435,{"$f":"I9+1","v":3},32,0.11694800000000072]
[4,8,16,40,51,16,44.029679999999999,1.7334519685039371,4,44,2.967999999999904E-2]
[5,8,16,40,61,16,52.967460000000003,2.0853330708661422,5,53,-3.2539999999997349E-2]
[6,8,16,30,18,50,13.859434,0.54564700787401577,6,14,-0.14056599999999975]
[7,8,16,31,28,50,22.328564,0.87907732283464568,7,22,0.32856400000000008]
[8,8,16,34,39,50,31.644607000000001,1.2458506692913387,8,32,-0.3553929999999994]
[9,8,16,39,54,50,44.348302000000004,1.7459961417322838,9,44,0.34830200000000389]
[10,8,16,40,64,50,52.817431999999997,2.0794264566929135,10,53,-0.18256800000000339]
[11,8,16,24,17,65,14.0052,0.5513858267716536,11,14,5.2000000000003155E-3]
[12,8,16,25,26,65,22.020600000000002,0.86695275590551191,12,22,2.0600000000001728E-2]
[13,8,16,26,37,65,31.8172,1.2526456692913386,13,32,-0.1828000000000003]
[14,8,16,29,51,65,44.285600000000002,1.7435275590551182,14,44,0.2856000000000023]
[15,8,16,31,64,65,55.863399999999999,2.1993464566929135,15,56,-0.13660000000000139]
[16,8,16,19,16,80,14.1187614336,0.55585674935433071,16,14,0.11876143359999958]
[17,8,16,20,24,80,21.683665958399999,0.85368763615748033,17,22,-0.31633404160000111]
[18,8,16,22,36,80,32.355615129599997,1.2738431153385825,18,32,0.35561512959999675]
[19,8,16,25,49,80,43.793077140899996,1.7241368953110237,19,44,-0.20692285910000408]
[20,8,16,27,62,80,56.048811024799996,2.2066461033385827,20,56,4.881102479999555E-2]
[21,8,16,16,15,100,14.01892,0.55192598425196848,21,14,1.8919999999999604E-2]
[22,8,16,17,24,100,22.274872000000002,0.87696346456692931,22,22,0.274872000000002]
[23,8,16,18,34,100,31.448152,1.238116220472441,23,32,-0.55184799999999967]
[24,8,16,20,48,100,44.290744000000004,1.7437300787401577,24,44,0.29074400000000367]
[25,8,16,23,64,100,58.967992000000002,2.3215744881889764,25,59,-3.2007999999997594E-2]
[26,8,16,13,15,120,15,0.59055118110236227,26,14,1]
[27,8,16,14,22,120,22,0.86614173228346458,27,22,0]
[28,8,16,15,33,120,33,1.299212598425197,28,32,1]
[29,8,16,17,46,120,44.000342400000001,1.7322969448818899,29,44,3.4240000000096416E-4]
[30,8,16,19,63,120,59,2.3228346456692917,30,59,0]
[31,8,16,10,13,160,13,0.51181102362204722,31,14,-1]
[32,8,16,10,21,160,21,0.82677165354330717,32,22,-1]
[33,8,16,12,33,160,33,1.299212598425197,33,32,1]
[34,8,16,13,46,160,44.00039679999999,1.732299086614173,34,44,3.9679999999009397E-4]
[35,8,16,14,59,160,59,2.3228346456692917,35,59,0]
[36,8,16,9,12,200,13,0.51181102362204722,36,14,-1]
[37,8,16,9,20,200,21,0.82677165354330717,37,22,-1]
[38,8,16,10,31,200,32,1.2598425196850394,38,32,0]
[39,8,16,11,45,200,44.000399999999992,1.7322992125984249,39,44,3.9999999999196234E-4]
[40,8,16,12,58,200,59,2.3228346456692917,40,59,0]
[41,8,16,8,13,240,13,0.51181102362204722,41,14,-1]
[42,8,16,9,21,240,21,0.82677165354330717,42,22,-1]
[43,8,16,9,32,240,32,1.2598425196850394,43,32,0]
[44,8,16,10,44,240,44.000339199999999,1.7322968188976378,44,44,3.3919999999909578E-4]
[45,8,16,10,57,240,59,2.3228346456692917,45,59,0]
[]
[null,null,null,null,null,null,null,null,null,"± 1 mm",10]
["Case C      d2/d1 ˂ 2.1   and    20 mm ≤ d2 ≤ 32 mm"]
["Column1","d1","d2","dm","cm","a2","Cr","Cri","Column2","Cr meas.","Cr Diff."]
["Cases","mm","mm","mm","mm","mm","mm","inch","Cases"]
[1,16,26,40,18,26,16,0.62992125984251968,1,16,{"$f":"G58-J58","v":0}]
[{"$f":"A58+1","v":2},16,26,40,26,26,22.065281213599999,0.86871185880314961,{"$f":"I58+1","v":2},22,{"$f":"G59-J59","v":6.5281213599998722E-2}]
[{"$f":"A59+1","v":3},16,26,40,36,26,31.967775874399997,1.2585738533228346,{"$f":"I59+1","v":3},32,-3.2224125600002651E-2]
[4,16,26,40,48,26,43.901964972000002,1.7284238177952758,4,44,-9.8035027999998192E-2]
[5,16,26,40,62,26,58.066774990399999,2.2860935035590551,5,58,6.6774990399999012E-2]
[6,16,26,36,18,50,16,0.62992125984251968,6,16,0]
[7,16,26,40,25,50,21.674612500000002,0.85333120078740166,7,22,-0.32538749999999794]
[8,16,26,40,37,50,32.1545475,1.2659270669291338,8,32,0.15454749999999962]
[9,16,26,40,49,50,44.147237500000003,1.7380802165354332,9,44,0.1472375000000028]
[10,16,26,40,63,50,57.612825000000001,2.2682214566929138,10,58,-0.38717499999999916]
[11,16,26,31,18,65,16,0.62992125984251968,11,16,0]
[12,16,26,33,25,65,22.337961587500001,0.87944730659448822,12,22,0.3379615875000006]
[13,16,26,38,36,65,31.8637659125,1.254478972933071,13,32,-0.1362340875000001]
[14,16,26,40,49,65,44.282098562499996,1.7433897071850393,14,44,0.28209856249999632]
[15,16,26,40,64,65,58.516563849999997,2.3038017263779529,15,58,0.51656384999999716]
[16,16,26,28,17,80,17,0.6692913385826772,16,16,1]
[17,16,26,29,24,80,22.046371199999999,0.86796737007874014,17,22,4.6371199999999391E-2]
[18,16,26,31,35,80,31.937900799999994,1.2573976692913384,18,32,-6.2099200000005794E-2]
[19,16,26,34,48,80,43.726680000000002,1.7215228346456695,19,44,-0.27331999999999823]
[20,16,26,40,65,80,59.881740800000003,2.3575488503937012,20,60,-0.11825919999999712]
[21,16,26,23,14,100,14,0.55118110236220474,21,13,1]
[22,16,26,25,23,100,21.812899999999999,0.85877559055118113,22,22,-0.18710000000000093]
[23,16,26,27,34,100,32.114419999999996,1.2643472440944881,23,32,0.11441999999999553]
[24,16,26,30,47,100,43.575299999999999,1.7155629921259843,24,44,-0.42470000000000141]
[25,16,26,33,64,100,59.850900000000003,2.3563346456692917,25,60,-0.14909999999999712]
[26,16,26,21,13,120,13,0.51181102362204722,26,13,0]
[27,16,26,22,23,120,22.064068800000001,0.86866412598425202,27,22,6.4068800000001147E-2]
[28,16,26,24,34,120,31.963739199999992,1.258414929133858,28,32,-3.6260800000007976E-2]
[29,16,26,27,47,120,44.432272000000005,1.7493020472440948,29,44,0.43227200000000465]
[30,16,26,29,64,120,61.075107199999998,2.4045317795275589,30,61,7.5107199999997931E-2]
[31,16,26,18,11,160,11,0.43307086614173229,31,11,0]
[32,16,26,19,22,160,22,0.86614173228346458,32,22,0]
[33,16,26,20,33,160,33,1.299212598425197,33,32,1]
[34,16,26,22,46,160,43.931815999999998,1.7295990551181102,34,44,-6.8184000000002243E-2]
[35,16,26,24,62,160,60.996582400000001,2.4014402519685043,35,61,-3.4175999999987994E-3]
[36,16,26,16,10,200,10,0.39370078740157483,36,11,-1]
[37,16,26,16,22,200,22,0.86614173228346458,37,22,0]
[38,16,26,18,32,200,32,1.2598425196850394,38,32,0]
[39,16,26,19,44,200,44,1.7322834645669292,39,44,0]
[40,16,26,20,62,200,62,2.4409448818897639,40,61,1]
[41,16,26,16,10,240,10,0.39370078740157483,41,11,-1]
[42,16,26,17,21,240,21,0.82677165354330717,42,22,-1]
[43,16,26,17,31,240,31,1.2204724409448819,43,32,-1]
[44,16,26,18,44,240,44,1.7322834645669292,44,44,0]
[45,16,26,19,61,240,61,2.4015748031496065,45,61,0]
[]
[null,null,null,null,null,null,null,null,null,"± 1 mm",9]
["Case D    2.1 ≤ d2/d1 ≤  2.4   and   d2  ≤ 32"]
["Column1","d1","d2","dm","cm","a2","Cr","Cri","Column2","Cr meas.","Cr Diff."]
["Cases","mm","mm","mm","mm","mm","mm","inch","Cases"]
[1,12,26,40,18,26,14.885381348799999,0.58603863577952753,1,15,{"$f":"G108-J108","v":-0.1146186512000007}]
[{"$f":"A108+1","v":2},12,26,40,26,26,22.3437335984,0.87967455111811033,{"$f":"I108+1","v":2},22,{"$f":"G109-J109","v":0.34373359840000006}]
[{"$f":"A109+1","v":3},12,26,40,36,26,31.617226470399999,1.2447726956850393,{"$f":"I109+1","v":3},32,-0.38277352960000144]
[4,12,26,40,49,26,44.210942506599999,1.7405882876614174,4,44,0.21094250659999858]
[5,12,26,40,60,26,55.9430464,2.2024821417322835,5,56,-5.6953599999999938E-2]
[6,12,26,40,19,50,15.034704314199999,0.59191749268503935,6,15,3.4704314199998976E-2]
[7,12,26,40,27,50,21.8998618454,0.86219928525196854,7,22,-0.10013815459999975]
[8,12,26,40,38,50,32.117365913599997,1.2644632249448819,8,32,0.11736591359999693]
[9,12,26,40,50,50,43.93085,1.7295610236220473,9,44,-6.9150000000000489E-2]
[10,12,26,40,62,50,56.016125446399997,2.2053592695433073,10,56,1.612544639999669E-2]
[11,12,26,27,18,80,15.151671255199998,0.59652249036220473,11,15,0.15167125519999836]
[12,12,26,28,24,80,21.679457446399997,0.85352194670866133,12,22,-0.32054255360000283]
[13,12,26,30,36,80,32.284357721599996,1.271037705574803,13,32,0.28435772159999573]
[14,12,26,34,50,80,43.853062499999993,1.7264985236220471,14,44,-0.14693750000000705]
[15,12,26,40,64,80,59.033786598399985,2.3241648267086608,15,59,3.3786598399984769E-2]
[16,12,26,23,18,100,15.109020447999999,0.59484332472440948,16,15,0.10902044799999899]
[17,12,26,24,25,100,21.726378125,0.85536921751968509,17,22,-0.2736218749999999]
[18,12,26,26,36,100,32.284566304000002,1.271045917480315,18,32,0.28456630400000194]
[19,12,26,28,48,100,43.857469887999997,1.7266720428346456,19,44,-0.14253011200000287]
[20,12,26,31,64,100,59.023787456000001,2.3237711596850397,20,59,2.3787456000000873E-2]
[21,12,26,18,16,120,14.9774901504,0.58966496655118117,21,15,-2.2509849600000464E-2]
[22,12,26,19,24,120,22.061085337599998,0.86854666683464565,22,22,6.1085337599998013E-2]
[23,12,26,21,35,120,31.9338915875,1.2572398262795277,23,32,-6.6108412500000213E-2]
[24,12,26,24,48,120,44.032171340799998,1.7335500527874015,24,44,3.2171340799997949E-2]
[25,12,26,27,64,120,59.993895705600004,2.3619643978582681,25,60,-6.1042943999964905E-3]
[26,12,26,14,15,160,15,0.59055118110236227,26,15,0]
[27,12,26,16,23,160,23,0.9055118110236221,27,22,1]
[28,12,26,17,33,160,31.999979099999997,1.2598416968503936,28,32,-2.0900000002654906E-5]
[29,12,26,19,47,160,43.999967099999999,1.7322821692913386,29,44,-3.2900000000779528E-5]
[30,12,26,21,63,160,59.999951099999997,2.3622027992125982,30,60,-4.8900000003015975E-5]
[31,12,26,13,16,200,16,0.62992125984251968,31,15,1]
[32,12,26,14,22,200,22,0.86614173228346458,32,22,0]
[33,12,26,15,33,200,33,1.299212598425197,33,32,1]
[34,12,26,16,45,200,45,1.7716535433070868,34,44,1]
[35,12,26,18,63,200,61,2.4015748031496065,35,60,1]
[36,12,26,13,16,240,16,0.62992125984251968,36,15,1]
[37,12,26,14,22,240,22,0.86614173228346458,37,22,0]
[38,12,26,13,32,240,32,1.2598425196850394,38,32,0]
[39,12,26,15,45,240,45,1.7716535433070868,39,44,1]
[40,12,26,16,63,240,61,2.4015748031496065,40,61,0]
[]
[null,null,null,null,null,null,null,null,null,"± 1 mm",7]